## Sheet1
Meter Management - EcoSEnter
Serial No | Phase Type | Location | Address | SIM Type | Status | Relay Status | Actions | Parameters
SE0000012 | Single Phase | MPS-Module 4 | Ground Floor, Compressor room test | Single SIM | Online | On
0000325 | Single Phase | MPS-Module 1 | Stores, Office area( QC SFP; without load) | Single SIM | Online | On
0000425 | Single Phase | MPS-Module 1 | First floor, AC panel room ( QC SFP; without load) | Single SIM | Online | On
01200853 | Single Phase | MPS-Module 4 | First floor, Left to Main entrance door | Single SIM | Online | On |  | V, Signal strength
07180524 | Single Phase | MPS-Module 2 | Ground Floor, Light Load DB-01 | Single SIM | Online | On |  | Active E, Apparent E, Avg I, Avg V
07180525 | Single Phase | MPS-Module 3 | Reliability lab, Compressor room | Single SIM | Online | On |  | Active E, Apparent E, Avg I, Avg V
07180526 | Single Phase | MPS-Module 3 | Reliability lab, Compressor room(without load) | Single SIM | Online | On
07180527 | Single Phase | MPS-Module 3 | Ground floor, UPS Room | Single SIM | Online | On
1025003 | Three Phase | HT Panel | 11kV HT Panel(Main Incoming) | Single SIM | Online | On
11035635 | Single Phase | MPS-Module 1 | Ground floor, Next to Service office | Single SIM | Online | On |  | Active E, Apparent E, Avg I, Avg V
11035636 | Single Phase | MPS-Module 3 | Reliability Lab, Compressor room(without load) | Single SIM | Online | On
120220261 | Single Phase | DG Room Panel | Test Meter Inside DG panel | Single SIM | Online | On
12170944 | Single Phase | DG Room | Inside DG room2( QC SFP; without load) | Single SIM | Online | On
12170945 | Single Phase | DG Room | Inside DG room1( QC SFP; without load) | Single SIM | Online | On
15000017 | Single Phase | MPS-Module 1 | Stores, Office area( N25) | Single SIM | Online | On
23456789 | Single Phase | MPS-Module 2 | Ground floor, Design Department , Desk J4 | Single SIM | Online | On
24010565 | Three Phase | MPS-Module 4 | Ground floor, Compressor Room | Single SIM | Offline | On
24010569 | Three Phase | MPS-Module 3 | Reliability lab, Compressor room( without load) | Single SIM | Online | On
24010577 | Three Phase | MPS-Module 2 | Ground floor, Service center stores(without load) | Single SIM | Offline | On
32600420 | Single Phase | Paari Team | MPS-Module 3 | Single SIM | Online | On
32600421 | Single Phase | Paari Team | MPS-Module 3 | Single SIM | Online | On
342505493311 | Three Phase | Test Meter | Ground floor, Design department, near A1 | Single SIM | Offline | On
342521108153 | Three Phase | Test Meter | Demo | Single SIM | Online | On
A0825001 | Single Phase | MPS-Module 2 | Ground floor, Design department, near A1 | Single SIM | Offline | On
A32600225 | Three Phase | HES Demo Mumbai | M/s Dua Lima Retail Pvt. Ltd | Single SIM | Offline | On
A32600226 | Three Phase | HES Demo Mumbai | M/s Dua Lima Retail Pvt. Ltd | Single SIM | Online | On
A3260704 | Single Phase | Paari Team | MPS-Module 3 | Single SIM | Online | On
A3260705 | Single Phase | Paari Team | MPS-Module 3 | Single SIM | Online | On
A3261074 | Single Phase | Paari Team | MPS-Module 3 | Single SIM | Online | On
A3261075 | Single Phase | Paari Team | MPS-Module 3 | Single SIM | Online | On
AB32501004 | Three Phase | MPS-Module 2 | Solar Panel, Rooftop(LTCT) | Single SIM | Online | On
AB32501005 | Three Phase | MPS-Module 1 | Solar Panel, Rooftop(LTCT) | Single SIM | Online | On
AB32501007 | Three Phase | MPS-Module 4 | Solar Panel, Rooftop(LTCT) | Single SIM | Online | On
B12423709011 | Single Phase | MPS-Module 2 | Ground Floor, Light Load DB-01 | Single SIM | Offline | On
B12423709012 | Single Phase | MPS-Module 2 | Ground Floor, Light Load DB-01 | Single SIM | Online | On
B12423709013 | Single Phase | MPS-Module 2 | Ground floor, Design department, near A1 | Single SIM | Offline | On
B12423709014 | Single Phase | MPS-Module 2 | Ground floor, Design department, near A1 | Single SIM | Offline | On
B12423709016 | Single Phase | MPS-Module 2 | Ground floor, Design department, near A1 | Single SIM | Offline | On
B12423709019 | Single Phase | MPS-Module 2 | Ground floor, Design department, near A1 | Single SIM | Offline | On
B12423709020 | Single Phase | MPS-Module 2 | Ground floor, Design department, near A1 | Single SIM | Offline | On
E0000001 | Single Phase | Test Meter | Ground floor, Design department, near A1 | Single SIM | Offline | On
E0000002 | Single Phase | Test Meter | Demo | Single SIM | Online | On
M1GEMAC1 | Three Phase | MPS-Module 1 | EMS Production AC | Single SIM | Online | On
M1GEMRW1 | Three Phase | MPS-Module 1 | EMS Production Raw | Single SIM | Online | On
M1GSCAC1 | Three Phase | MPS-Module 1 | EMS Production AC | Single SIM | Online | On
M1GSTAC1 | Three Phase | MPS-Module 1 | Stores AC | Single SIM | Online | On
M1TTAC01 | Three Phase | MPS-Module 1 | First floor, AC panel room | Single SIM | Offline | On
M2FCFAC1 | Three Phase | MPS-Module 2 | First Floor, AC Load Conference Room | Single SIM | Online | On
M2FHRAC1 | Three Phase | MPS-Module 2 | First Floor, AC Load HR/Acc | Single SIM | Online | On
M2FSRAC1 | Three Phase | MPS-Module 2 | First Floor, AC Load Server room | Single SIM | Online | On
M2GDDAC1 | Three Phase | MPS-Module 2 | Ground Floor, AC Load D&D - Feeder 04 | Single SIM | Online | On
M2GDDAC2 | Three Phase | MPS-Module 2 | Ground Floor, AC & Light Load D&D - Feeder 22 | Single SIM | Online | On
M2GDDAC3 | Three Phase | MPS-Module 2 | Ground Floor, AC Load D&D - Mech QA lab | Single SIM | Online | On
M2GQARW1 | Three Phase | MPS-Module 2 | QA Lab (Raw), Btw Module 1 and Module 2 | Single SIM | Online | On
M2GRCAC1 | Three Phase | MPS-Module 2 | Ground Floor, AC Load Reception | Single SIM | Online | On
M2LOAD01 | Three Phase | MPS-Module 2 | Ground Floor, Light Load DB-02 | Single SIM | Online | On
NODL12345678 | Single Phase | MPS-Module 3 | Reliability lab, Compressor room( QC SFP) | Single SIM | Online | On
SC20000003 | Three Phase | MPS-Module 1 | Stores, Office area(without load) | Single SIM | Online | On
SC32600138 | Single Phase | India Innovation Summit | Yashobhoomi, Sector 25 Dwarka, Bharthal, Delhi, 110077 | Single SIM | Offline | On
SE0000009 | Single Phase | MPS-Module 4 | Stores, Material Area | Single SIM | Online | On
SE0000011 | Single Phase | MPS-Module 3 | Reliability Lab, Compressor room | Single SIM | Offline | On
SE0000023 | Single Phase | MPS-Module 1 | Stores, office area | Single SIM | Online | On
SE000021 | Single Phase | Lavanya | Mod 2 | Single SIM | Online | On
SE000022 | Single Phase | Lavanya | Mod 2 | Single SIM | Online | On
SE100001 | Single Phase | Chiru Team | MPS-Module 2 | Single SIM | Offline | On
SE1000020526 | Single Phase | Chiru Team | MPS-Module 2 | Single SIM | Offline | On
SE1000030526 | Single Phase | Chiru Team | MPS-Module 2 | Single SIM | Offline | On
SE1338167 | Single Phase | MPS-Module 2 | First floor, Canteen | Single SIM | Online | On
SE2104744 | Single Phase | MPS-Module 2 | Desk D6 | Single SIM | Offline | On
SE2110832 | Single Phase | MPS-Module 2 | Desk D6 | Single SIM | Online | On
SE2303001 | Single Phase | Module-2 | Design Department (WiSUN) | Single SIM | Offline | On
SE2303062 | Single Phase | Module-2 | Design Department (WiSUN) | Single SIM | Offline | On
SE2303064 | Single Phase | Module-2 | Design Department (WiSUN) | Single SIM | Offline | On
SE2303066 | Single Phase | Module-2 | Design Department (WiSUN) | Single SIM | Offline | On
SE2303067 | Single Phase | Module-2 | Design Department (WiSUN) | Single SIM | Offline | On
SE2303069 | Single Phase | Module-2 | Design Department (WiSUN) | Single SIM | Offline | On
SE2303070 | Single Phase | Module-2 | Design Department (WiSUN) | Single SIM | Offline | On
SE2303071 | Single Phase | Module-2 | Design Department (WiSUN) | Single SIM | Offline | On
SE2303073 | Single Phase | Module-2 | Design Department (WiSUN) | Single SIM | Offline | On
SE2303093 | Single Phase | Module-2 | Design Department (WiSUN) | Single SIM | Offline | On
T3230708 | Three Phase | DG Room | Inside DG room2 | Single SIM | Online | On
T3230711 | Three Phase | MPS-Module 2 | Ground floor, Service center stores, | Single SIM | Offline | On
T3230713 | Three Phase | MPS-Module 1 | Stores, Material Area, next to stair case | Single SIM | Offline | On
T3260666 | Three Phase | India Innovation Summit | Yashobhoomi, Sector 25 Dwarka, Bharthal, Delhi, 110077 | Single SIM | Offline | On
U5023757 | Single Phase | Nithin | Mod 2 | Single SIM | Offline | On
U5024405 | Single Phase | Nithin | Mod 2 | Single SIM | Offline | On